## Slide 1
CO2 Capture Plant
PDC ROOM
OPERATOR ROOM
Analog Monitor Input 225 D | Analog Control Output 50 D | Discrete Monitor Input 125 | Discrete Control Output 75 | System Softkey | Sytech Reporter
ProfessionalPLUS Premium WS Soft...
Rack WS Win10 Ent RAID1 16GB RAM
x36 Dual Single Mode Media Converter...
Smart Switch 19-inch Rack mount ...
19inch rack mounted sliding screen
APC UPS
x8 Fiber optic cable 5 mtr
Hirschmann 8-port rack mount swi...
Server Cabinet
PK Controller
CIOC 1
8/8
CIOC 2
8/8
CIOC 3
5/8
21/24 baseplates · 3 CIOC towers
I/O Cabinet #1
CIOC 1
8/8
CIOC 2
8/8
CIOC 3
8/8
24/24 baseplates · 3 CIOC towers
I/O Cabinet #2
FOPP
FOPP DIN mount
FOPP
FOPP
OWS
OWS Tower
Printer
PK Controller
CIOC
CHARM I/O
EWS/WS
Switch
UPS
Fiber/FOPP
Network